# MEHRAN UNIVERSITY OF ENGINERING AND TECHNOLOGY

FRM-001/QSP-004

Dec.01.2001

## Tentative Teaching Plan

DEPARTMENT OF ELECTRICAL ENGINEERING

Name of Teacher:

# Subject:	 					Batch:      	Year:  3rd      Term: 2nd

# Term Starting Date:  				Term Suspension Date:

| S. No. | ### Course Contents of the Subject | Lecture hrs required |
| --- | --- | --- |
|  | Basic Concepts: Phasor notation complex power, power triangle | 2 |
|  | ##### Direction of power flow, current and power in balanced three-phase circuits. Percent and Per- Unit quantities. Election of base and change in base of p.u quantities | 2 |
|  | One- line diagram, impedance and reactance diagram | 1 |
|  | SYSTEM OF TRANSMISSION, System of DC and AC Transmission, transmission and sub- transmission | 1 |
|  | Standard voltages in and abroad for transmission and sub transmission, WAPDA & KESC practice | 1 |
|  | Effect of voltage on transmission efficiency choice of system voltage | 1 |
|  | SERIES IMPEDANCE OF TRANSMISSION LINES, Conductor types, resistance | 1 |
|  | Skin effect, line inductance based on flux considerations | 1 |
|  | Inductance of single phase 2-wire line, Inductance of composite conductor line, Inductance of 3-phase line with equilateral and unsymmetrical spacing | 2 |
|  | Inductance of Bundled conductors | 1 |
|  | CAPACITANCE OF TRANSMISSION LINES : Review of Electric field on a long straight conductor | 1 |
|  | Capacitance of two wire; 3-phase line; | 1 |
|  | Effect of Earth on capacitance; capacitance of bundled conductors | 1 |
|  | Parallel circuit lines. Use of tables | 1 |
|  | CURRENT AND VOLTAGE RELATIONS ON A TRANSMISSION LINE Representation of lines: the short | 1 |
|  | Medium and long transmission line solution of equations and their interpretation | 2 |
|  | Traveling waves | 2 |
|  | Hyperbolic form of the equations, equivalent circuits, power flow through the line | 2 |
|  | Voltage regulation and power circuit diagram line surges | 2 |
|  | MECHANICAL DESIGN OF OVERHEAD LINE Line supports | 1 |
|  | Sag and tension calculations, | 2 |
|  | Total length of conductor supports at different levels Mechanical degree of safety, effect of wind pressure and ice loading | 2 |
|  | Conductor vibration and use of dampers | 1 |
|  | INSULATORS , Insulator material |  |
|  | Types of insulators | 1 |
|  | Voltage distribution over head lines | 1 |
|  | Insulator string | 1 |
|  | String efficiency methods of improving the string efficiency testing of insulators | 1 |
|  | Disruptive critical voltage and visual critical voltage | 1 |
|  | Condition effecting coronal loss | 1 |
|  | Power loss due to corona, radio interference | 1 |
|  | UNDERGROUND CABLE: conductors for cables | 1 |
|  | Insulating materials for cables | 1 |
|  | Types and constructional features of U/G cables | 1 |
|  | Electrostatic stress in single core cables and grading of cables | 1 |
|  | Three core high voltage cables EHY cables | 1 |
|  | Oil filled cables, external pressure cables | 1 |
|  | Gas filled cables thermal characteristics of cables | 1 |
|  | Cables ratings and their determinations, capacitance of insulated cables | 1 |
|  | Tests on cables Fault locating and jointing techniques cables | 1 |
|  | HVDC TRANSMISSION INTRODUCTION AND Classification HYDC transmission | 1 |
|  | Limitations of AC inter connection and advantages of DC interconnection | 1 |
|  | Components of HYDC transmission | 1 |
|  | Converting and inverting stations | 1 |
|  | TOTAL | 52 |

Signature of Teacher:						Dated:

Remarks of DMRC:

Signature of Chairman: