# MEHRAN UNIVERSITY OF ENGINERING AND TECHNOLOGY

FRM-001/QSP-004

Dec.01.2001

## TENTATIVE TEACHING PLAN

Department of Electrical Engineering

Name of Teacher:  Prof. Badar-ul-Haq Baloch

# Subject:   High Voltage Engineering    	 Batch:   09 (Sec-I & II)  	 Year:  Final        Term: 8th

# Term Starting Date:  16-07-2012		Term Suspension Date: 04-11-2012

| S # | ### Course Contents of the Subject | Lecture hrs required |
| --- | --- | --- |
|  | Introduction to subject | 1 |
|  | ##### Electrical Break down in gases, Ionization | 2 |
|  | Townsend theory cathode process | 1 |
|  | Decay process Effect of space charge on Breakdown in voltage | 2 |
|  | Streamer mechanism Break down in compressed gases | 2 |
|  | Paschen law penning effect | 1 |
|  | Partial breakdown Mechanism of partial discharge 1 | 1 |
|  | Application of corona | 2 |
|  | Design consideration for Rod-gaps Flash over mechanisms | 2 |
|  | Breakdown mechanism in solids and liquids | 1 |
|  | Intrinsic, electromechanical, streamer | 2 |
|  | Thermal erosion, chemical breakdown, cavitations breakdown | 2 |
|  | Suspended particle mechanism in circuit breakers and uses | 2 |
|  | Design considerations for bushings and line insulators | 1 |
|  | Generation of high voltage | 2 |
|  | Method of generation of alternating high voltage, transient voltage | 2 |
|  | Direct voltage. Transmission in cascade, series resonant circuit | 2 |
|  | Single stage and multistage impulse generators | 2 |
|  | Half wave rectifiers circuits, Full wave rectifier circuits | 2 |
|  | Voltage doublers circuit cascade circuits | 2 |
|  | Measurement of High voltage | 1 |
|  | ,method of measurement alternating high voltage | 2 |
|  | Impulse voltage and direct voltage | 1 |
|  | Sphere gaps, ammeter in series with high impedance | 2 |
|  | Series capacitance voltmeters (Clubb and protective circuit) | 1 |
|  | Potential dividers | 2 |
|  | Non destructive insulation test techniques : | 2 |
|  | Dielectric loss measurements | 2 |
|  | Partial discharge detection | 2 |
|  | Measurement of receptivity | 2 |
|  | Measurement of dielectric strength | 1 |
|  | Total | 52 |

Signature of Teacher:						Dated:

Remarks of DMRC: 						Dated:

Signature of Chairman:					Dated: