| SCHEDULE-B BILL OF QUANTITIES CONSTRUCTION OF FM RADIO STATION AT MUET, JAMSHORO. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL ABSTRACT |  |  |  |  |  |  |  |
| S.# | ITEM/ DESCRIPTION |  |  |  |  |  | AMOUNT in Rs. |
| 1 | PART-I CIVIL WORK (Schedule Items) |  |  |  |  |  |  |
| 2 | PART-II CIVIL WORK (Schedule Items) (Tiles & Doors) |  |  |  |  |  |  |
| 3 | PART-III CIVIL WORK (Schedule Items) (Iron / Steel) |  |  |  |  |  |  |
| 4 | PART-IV CIVIL WORK (Non-Schedule Items) |  |  |  |  |  |  |
| 5 | PART-V Electric WORK (Schedule Items) |  |  |  |  |  |  |
| 6 | Part-VI (Electrical Work) Non-Schedule items |  |  |  |  |  |  |
| Total ……………...… |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Contractor |  |
| Executive Engineer (Development) |  |  |  |  |  |  |  |

SCHEDULE-B

BILL OF QUANTITIES

| CONSTRUCTION OF FM RADIO STATION AT MUET, JAMSHORO. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.# | ITEM/ DESCRIPTION | QTY | Rate | Unit | AMOUNT in Rs. |
| PART-I CIVIL WORK (SCHEDULE ITEMS): |  |  |  |  |  |
| 1 | Dismantling cement concrete plain 1:2:4. S.I. No. 19(c) P 10) | 90.00 | 3,327.5 | %Cft | 2,994.75 |
| 2 | Pacca brick work in ground floor in cement sand mortar ratio 1:6 (S I # 5(1-E) P-21) | 80.00 | 12,674.36 | % Cft | 10,139.49 |
| 3 | Cement Plaster 1:5 upto 12' height (a) 3/8"" thick. (Chaper-9, S.I.No. 12-a, Page No. 52). | 472.00 | 2,122.72 | %Sft | 10,019.24 |
|  | (b) 1/2"" thick. (Chaper-9, S.I.No. 12-b, Page No. 52). | 472.00 | 2,166.72 | %Sft | 10,226.92 |
| 4 | Preparing New Surface: Painting doors, windows i/c edges three coats (S.I # 5 P-70). | 176.00 | 2,241.80 | %Sft | 3,945.57 |
| 5 | Reinforced cement concrete work i/c the cost of steel reinforcement and its labor for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface laid in position complete in all respects Ratio 1:2:4. 90 lbs cement 2cft sand 4cft shingle 1/8" to 1/4" gauge (S.I # 6 (a) P-16 & 17) | 3.00 | 337.00 | P.Cft | 1,011.00 |
| 6 | Providing & laying toping cement concrete (1:2:4) including surface finishing and dividing into panels (b) 1-1/2" thick. S.I.No. 16(b) P # 42.) | 5.00 | 2,548.29 | %Sft | 127.41 |
| 7 | Preparing the surface and painting with matt finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with Zink /chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc. complete.(New surface).(Chaper-9, S.I.No. 36A, Page No. 55). | 760.00 | 1,989.62 | %Sft | 15,121.11 |
| 8 | Providing and fixing approved quality Mortice lock. (Chaper-10, S.I.No. 21, Page No.60). | 4.00 | 1,786.13 | Each | 71.45 |
| 9 | Preparing the surface and painting with weather coat of approved make to old weather coat surface. (S.I.No. 39A, Page No. 56). | 770.00 | 878.63 | %Sft | 6,765.45 |
|  | 2nd & subsequent coat. (S.I.No. 39B, Page No. 56). | 770.00 | 619.85 | %Sft | 4,772.85 |
|  | Sub-Total ….. = |  |  |  | 65,195.23 |
| Premium % Above/ Below on schedule items…… |  |  |  |  |  |
| Total …… = |  |  |  |  |  |
| PART-II (CIVIL WORK) Sch: Items (Tiles / Doors) |  |  |  |  |  |
| S.# | ITEM/ DESCRIPTION | QTY | Rate | Unit | AMOUNT in Rs. |
| 1 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing. (S.I # 38 P-45) | 10.00 | 28,299.30 | %Sft | 2,829.93 |
| 2 | Providing and fixing in position, Doors, Windows and Ventilators of 2" x 2" 1/4" Angle iron frames and 1 3/4" thick Commercial ply wood veneer shutters of deodar wood (3 Ply ) on both sides, including hold fasts, cheats, iron towel bolts handles, hinges and one Mortice lock. | 70.00 | 933.75 | P.Sft | 65,362.50 |
|  | Sub-Total ….. = |  |  |  | Rs. 68,192.43 |
| Premium % Above/ Below on schedule items…… |  |  |  |  |  |
| Total …… = |  |  |  |  |  |
| PART-III (CIVIL WORK) Sch: Items (Iron / Steel) |  |  |  |  |  |
| S.# | ITEM/ DESCRIPTION | QTY | Rate | Unit | AMOUNT in Rs. |
| 1 | Fabrication of tor steel reinforcement for cement concrete including cutting bending, laying in position malting joints and fastening including cost of binding wire (also includes removable dust from bars. (b) Using Tor bars. (S.I.No: 8(b) P-17. | 0.50 | 5,001.70 | P. Cwt | 2,500.85 |
| 2 | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.(S.I # 29 P-93) | 48.00 | 228.90 | PRft | 10,987.20 |
| Sub-Total ….. = |  |  |  |  | Rs. 13,488.05 |
| Premium % Above/ Below on schedule items…… |  |  |  |  |  |
| Total …… = |  |  |  |  |  |
| S.# | ITEM/ DESCRIPTION | QTY | Rate | Unit | AMOUNT in Rs. |
| PART-IV (CIVIL WORK) Non-Sch: Items |  |  |  |  |  |
| 1 | Removing of Aluminum Channel framing solid windows | 2.00 |  | Each |  |
| 2 | Providing and fixing false-ceiling | 100.00 |  | PSft |  |
| 3 | providing and fixing wooden shelf | 76.00 |  | PSft |  |
| 4 | Roof cleaning along with dusting trimming of trees complete as per direction. | 1.00 |  | P.Job |  |
| Total …… = |  |  |  |  |  |
| Part-V (Electrical Work) Schedule items |  |  |  |  |  |
| S.# | ITEM/ DESCRIPTION | QTY | Rate | Unit | AMOUNT in Rs. |
| 1 | Providing / Laying (main or Sub-Main) PVC insulated with size 2-7/029 copper conductor in 3/4" dia Pvc conduit on surface (S.I #3 P-1) | 110 | 171.00 | P.Mtr | 18,810.00 |
| 2 | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63amp DP (TB-5S) on prepared board as required (S.I # 204 Page-31) | 2 | 2,456.00 | Each | 4,912.00 |
|  | Sub-Total ….. = |  |  |  | Rs. 23,722.00 |
| Premium % Above/ Below on schedule items…… |  |  |  |  |  |
| Total …… = |  |  |  |  |  |
| Part-VI (Electrical Work) Non-Schedule items |  |  |  |  |  |
| S.# | ITEM/ DESCRIPTION | QTY | Rate | Unit | AMOUNT in Rs. |
| 1 | Providing and fixing 6 watts led lights | 12 |  | Each |  |
| 2 | Providing and fixing fancy gang sheets 6+1 china made or equivalent. | 3 |  | Each |  |
| 3 | Providing and laying cat-6 cable for data connection | 30 |  | Mtr |  |
| 4 | Providing and fixing universal boards along with plastic box | 10 |  | Each |  |
| 5 | Providing and fixing 3" duct pattai for cables. | 30.00 |  | PRft |  |
| Total …… = |  |  |  |  |  |

Contractor

Executive Engineer (Development)