MEHRAN UNIVERSITY of ENGINEERING & TECHNOLOGY, JAMSHORO.

List of Chemicals, Glassware and Equipments

| Glassware |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S.No | Type of glass ware | Size (Capacity) | Quantity | Manufactur-er | Unit | Amount |
|  | Condensers | NS 24/29 250mm | 12 |  |  |  |
|  | Round Bottom flask | NS 24/29 250mL | 12 |  |  |  |
|  | Round Bottom flask | NS 24/29 100mL | 6 |  |  |  |
|  | Measuring Cylinder | (10 ml) | 10 |  |  |  |
|  |  | (50 ml) | 5 |  |  |  |
|  |  | (100 ml) | 5 |  |  |  |
|  |  | (500 ml) | 2 |  |  |  |
|  |  | (1000 ml) | 2 |  |  |  |
|  | Beakers | (25 ml) | 10 |  |  |  |
|  |  | (50 ml) | 10 |  |  |  |
|  |  | (100 ml) | 10 |  |  |  |
|  | Conical flask | (100 ml) | 10 |  |  |  |
|  |  | (250 ml) | 10 |  |  |  |
|  | BOD Bottles | (300 ml) | 24 |  |  |  |
|  | Culture tube | (15X100 mm) | 100 |  |  |  |
|  | Test Tubes | (12X100mm) | 50 |  |  |  |
|  |  | (16X150mm) | 50 |  |  |  |
|  | Burette | (25 ml) | 5 |  |  |  |
|  |  | (50 ml) | 5 |  |  |  |
|  | Pipette Filler (Wheel type) |  | 10 |  |  |  |
|  | Pipette Filler (Rubber type) |  | 10 |  |  |  |
|  | Pipette | (1 ml) | 5 |  |  |  |
|  |  | (2 ml) | 5 |  |  |  |
|  |  | (5 ml) | 5 |  |  |  |
|  |  | (10 ml) | 5 |  |  |  |
|  | Micro pipette | variable volume |  |  |  |  |
|  | Measuring jug Plastic | 250 ml | 5 |  |  |  |
|  |  | 500 ml | 5 |  |  |  |
|  |  | 1000 ml | 5 |  |  |  |
| 15 | Filter Paper 45 micron | 100 No. |  |  |  |  |
| 16 | Lab Hand gloves | 100 No. |  |  |  |  |
| Equipments |  |  |  |  |  |  |
| S.No | Type of Equipment |  | Size (Capacity) | Quantity | Manufacturer | Amount |
| 1 | COD reactor complete set with Electro photometer with varying temperature (100, 120 and 150 oC ) |  |  |  |  |  |
| 2 | BOD Measurement System complete unit with 6 sensor heads and control unit with batteries - Inductive stirring unit with power supply - 6 sample bottles - 6 rubber gaskets - 6 magnetic stirring rods - 1 overflow flask, 157 ml - 1 overflow flask, 428 ml - 1 bottle, 50 ml potassium hydroxide solution - 1 bottle, 50 ml nitrification inhibitor solution - Instruction manual - Test set, BOD CM test tablets, box with 8 tablets - Data transfer cable |  |  |  |  |  |

(Continued on next page)

| S.No | Chemical/Reagent | Name of Chemical | Quant. | Manufac- turer | Rate in Rs. | Unit | Amount in Rs |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | K2H2PO4 | Potassium dihydrogen Phosphate | 1kg |  |  |  |  |
| 2 | Na2HPO4.7H2O | Sodium Monohydrogen Phosphate heptahydrate | 1kg |  |  |  |  |
| 3 | NH4Cl | Ammonium chloride | 1kg |  |  |  |  |
| 4 | MgSO4.7H2O | Magnesium Sulfate Heptahydrate | 1kg |  |  |  |  |
| 5 | CaCl2 | Calcium Chloride | 1kg |  |  |  |  |
| 6 | FeCl3.6H2O | Ferric Chloride | 1kg |  |  |  |  |
| 7 | NaOH | Sodium Hydroxide | 1kg |  |  |  |  |
| 8 | C6H12O6 | Glucose | 1kg |  |  |  |  |
| 9 | C5H9NO4 | Glutamic acid | 50gm |  |  |  |  |
| 10 | K2Cr2O7 | Potassium dichromate cryst. | 1 kg |  |  |  |  |
| 11 | H2SO4 | Sulfuric acid (98% concentrated) | 5L |  |  |  |  |
| 12 | Ag2SO4 | Silver Sulfate | 50 gm |  |  |  |  |
| 13 | FeSO4.7H2O | Ferrous sulphate heptahydrate | 1 Kg |  |  |  |  |
| 14 | C12H8N2.H2O | Ferroin indicator(Phenonthroline monohydrate) | 10gm |  |  |  |  |
| 15 | Fe(NH4)2 (SO4)2.6H2O | Ferrous Ammonium Sulfate | 1kg |  |  |  |  |
| 16 | HgSO4 | Mercuric sulphate | 100gm |  |  |  |  |
| 17 | H3NSO3 | Sulfamic acid (To eliminate interference of nitrites) | 1kg |  |  |  |  |
| 18 | HOOCC6H4COOK | Potassium Hydrogen Phthalate (KHP Standard) | 500gm |  |  |  |  |
| 19 | NaCl | Sodium chloride | 1kg |  |  |  |  |
| 20 | C23H26N2O4)2.H2SO4.7H20 | Brucine Sulfate | 5gm |  |  |  |  |
| 21 | NH2C6H4SO3H.H2O | Sulfanilic acid | 500gm |  |  |  |  |
| 22 | HCl | Hydrochloric acid | 2.5L |  |  |  |  |
| 23 | CHCl3 | chloroform | 2.5L |  |  |  |  |
| 24 | CH3COOH | Acitic acid | 2.5L |  |  |  |  |
| 25 | Na2SO4 | Sodium Sulfate | 1kg |  |  |  |  |

Director IEEM